REAGEN™

Dairy Product Pasteurization Verification Kit

RND99030

Product Description

REAGEN™Dairy Product Pasteurization Verification Kit is a colorimetric assay for the confirmation of pasteurization of milk, cheese and other dairy products. REAGEN™Dairy Product Pasteurization Verification Kit uses a simple, colorimetric enzyme-based assay to measure the inactivation of bovine alkaline phosphatase in milk or cheese samples to determine pasteurization. The procedure is both sensitive and rapid: permitting confirmation of pasteurization (the procedure can detect of <0.2% raw milk contamination in pasteurized milk) in about 30 min.

The unique features of the kit are:

- Rapid  and simple method

- Minimal sample prep

- High  accurate  and  reproducible

The kit contains positive standards to verify inactivation of the enzyme and the associated successful pasteurization

Procedure Overview

REAGEN™ Dairy Product Pasteurization Verification Kit measures inactivation of the milk alkaline phosphatase enzyme which occurs during pasteurization. After a test sample is added to the reagent mix, the sample is incubated at 37°C for 30 minutes. After adding Developer reagent to stop the reaction, the samples are compared to control tubes produced using positive standards. Successful pasteurization is indicated by a lack of pink color in the samples compared to the control

Kit Contents, Storage and Shelf Life

REAGEN™ Dairy Product Pasteurization Verification Kit contains sufficient reagents to determine the pasteurization state of 30 samples. Upon receipt of the kit, place the reaction tubes at room temperature. Store the remainder of the kit at 4°C. The shelf life is 12 months when the kit is properly stored

| Kit Contents | Amount | Storage |
| --- | --- | --- |
| Reaction tubes | 60 | Room temp |
| Reagent Mix | 1.6 mL | 4°C |
| Developer | 2 X 1.6 mL | 4°C |
| Positive Control | 1.6 mL | 4°C |

Sample Types

The assay is specifically designed for use with whole milk, reduced fat milk, light cream and cheese.

Required Materials Not Provided With the Kit

- Pipet and pipet tips

- ·Distilled or deionized water.

- ·Heating block capable of heating sample tubes to 37°C.

- ·Butanol (for cheese samples)

- ·Whatman #4 (or similar) filter paper (for cheese samples)

Warnings and Precautions

- Do not use the kit past the expiration date.

- Do not intermix reagents from different kits or different lots.

- Try to maintain a laboratory temperature of 20°–25°C (68°–77°F).

- Make sure you are using only distilled or deionized water since water quality is very important.

SAMPLE PREPARATION

### Milk and Reduced Fat Milk, and Light Cream

Warm up samples to room temperature. Use sample undiluted.

### Cheese s

1.   Weigh out a 4 gram portion of cheese and transfer to a 50 ml centrifuge tube.

2.   Add 16 ml 7.5% butanol (in water).

3.   Grind (with a glass rod or other device) for 2 min.

4.   Filter through Whatman filter paper. Use filtrate for test.

TEST PROTOCOL AND ANALYSIS

### Set-up

1.   Warm up kit reagents to room temperature.

2.   Warm up sample tube heater to 37°C.

3.   Label sample tubes with appropriate sample numbers.

### Testing Protocol

1.   Add 1 mL of test sample to each tube in duplicate.

2.  To one tube, add 40 µL Reagent Mix and to the other add 40 µL Positive Control. Label tubes accordingly.

3.   Mix and incubate 30 minutes at 37°C

4.   Carefully add 40 µL Developer to each tube and mix.

5.   Visually compare the color of test and control tubes. If the test solution is less pink than the positive control solution, then the milk has been pasteurized to the extent equivalent to <0.2 % raw milk.

REAGEN LLC

Add.: 102CommerceDr.Unit8,Moorestown,NJ08057

Tel.:856-727-0250         FAX.:856-727-0251

E-mail:reagenkits@gmail.com  reagenllc@gmail.com

Web.: www.reagen.us