REAGEN™

EHDV Antibody Test Kit

RNN89005

### Product Description

REAGEN™  EHDV Antibody Test Kit is designed for the detection of antibodies specific to Epizootic Hemorrhagic Disease (EHD) virus in cervids. EHDV is an orbivirus that infects most wild and domestic ruminants. EHD is endemic in many countries, particularly affecting white-tailed deer in North America, with a morbidity and mortality rate as high as 90%. Deer, elk, and moose can seroconvert. Edema, hemorrhage, and ulcerations are seen in the mouth and lips in the acute form of the disease. In the chronic form of the disease, affected animals exhibit sloughing of the hoof wall, erosions, and scars in the rumen. Spontaneous abortions and stillbirths have also been reported in some epidemics.

The detection of antibodies to EHDV is done using blood samples (serum or plasma) from infected hosts. The REAGEN™  EHDV Antibody Test Kit provides a simple, rapid, sensitive and cost-effective enzyme-based immunoassay (ELISA) screening method. This enables white-tailed deer breeders, ranchers, veterinarians, and government agencies to detect EHDV serogroup-specific antibodies. Bluetongue virus (BTV), a member of the genus Orbivirus, produces similar symptoms, and differential diagnosis is important to prevent widespread outbreak and economic loss. The ELISA method accurately detects antibodies specific to EHDV, without cross-reactivity between the serogroups of BTV and EHDV.

### Procedure OverviewGENERAL INFORMATION

The method is based on a colorimetric ELISA. Purified EHDV antigens have been coated in the plate wells. During analysis, the serum or plasma sample is added. If antibodies to EHDV are present in the sample, it will bind to the coated antigen. The secondary antibody, tagged with a peroxidase enzyme, targets anti-EHDV antibodies, and the resulting color intensity, after the addition of substrate, is related to the amount of anti-EHDV antibodies in the sample.

### Kit Contents, Storage and Shelf Life

REAGEN™ EHDV Antibody Test Kit has the capacity for 96 determinations or testing of 46   samples in duplicate (using 4 wells for negative control and positive control). Return any unused microwells to the foil bag and reseal them with the desiccant provided in the original package. The shelf life is 6 months after receipt when the kit is properly stored.

| Kit Contents | Amount | Storage |
| --- | --- | --- |
| EHDV antigen -coated Plate | 1x96T | 4°C |
| EHDV Positive Control | 0.5 ml | –20°C |
| EHDV Negative Control | 0.5 ml | –20°C |
| 50xHRP-Conjugated Antibody Solution | 200 ul | –20°C |
| SecondaryAntibody diluent Solution | 10 ml | 4°C |
| Serum/Plasma Diluent | 15 ml | 4°C |
| 20x Wash Solution | 20 ml | 4°C |
| TMB Substrate | 10 ml | 4°C |
| Stop Solution | 10 ml | 4°C |

### Required Materials Not Provided With the Kit

- Microtiter plate reader (450 nm)

- Incubator (at 37°C)

- Vortex mixer

- 10, 20, 100 and 1000 L pipettes

- Multi-channel pipette (Optional)

### Warnings and Precautions

REAGEN strongly recommends that you read the following warnings and precautions to ensure your full awareness of the techniques and other details you should pay close attention to when running the assays. Periodically, optimizations and revisions are made to the kit and manual. Therefore, it is important to follow the protocol that comes with the kit. If you need further assistance, you may contact your local distributor.

- Handle the positive and negative controls with care.

- Do not use the kit past the expiration date.

- Do not mix reagents from different kits or lots. Antibodies and plates are lot and kit specific.

- Make sure that the HRP conjugated antibody and diluent are mixed in correct volumes.

- Maintain a laboratory temperature of 20°– 25°C (68°– 77°F). Avoid running assays under or near air vents, as this may cause excessive cooling, heating and/or evaporation. Also, do not run assays in direct sunlight, as this may cause excessive heat and evaporation.

- Water quality is very important; make sure you are using only distilled or deionized water.

- When pipetting samples or reagents into an empty microtiter plate, place the pipette tips in the lower corner of the well, making contact with the plastic.

- Incubations of assay plates should be timed as precisely as possible.

- Add your controls first, and then your samples.

- Always refrigerate plates in sealed bags with desiccant to maintain the plate(s) stability.

- Prevent condensation from forming on plates by allowing them equilibrate to room temperature (20 – 25°C / 68 – 77°F) while in the packaging.

### SAMPLE PREPARATION

Serum/Plasma

Dilute serum or plasma samples using the serum/plasma diluent provided in the kit (e.g. 50µL  of serum/plasma is added to 500 µL of diluent to obtain a 1:10 dilution). Perform dilution at room temperature and use immediately. Store any other serum samples at -20°C.

Cell culture Supernatant

Cell culture supernatants from hybridoma or engineered cell lines can be directly used in the assay. Frozen supernatants should be thawed at room temperature before use in the assay.PARATION

INOGANIC PHOSPHORUSDETECTION TEST PCOL

### EHDV ANTIBODY ELISA TEST KIT PROTOCOL

EHDV ANTIBODY ELISA TEST KIT PROTOCOL

Reagent Preparation

IMPORTANT: All frozen reagents should be brought up to room temperature before use (1 – 2 hours at 20 – 25C / 68 – 77F); Make sure you read the “Warnings and Precautions” section on page 2-3. Solutions should be prepared just prior to performing the ELISA. All reagents should be mixed by inversion prior to use. Do not return used pipette tips or any reagents to the original stock tubes/bottles. Use disposable reservoirs when handling reagents to minimize the risk of contamination.

1. Preparation of 1X Wash Solution

Mix 1 volume of 20X Wash Solution with 19 volumes of distilled water.

2. Preparation of 1X HRP-Conjugated Secondary Antibody

Based on the needed amount, add 1 volume of 50X HRP-Conjugated Secondary Antibody solution to 49 volumes of the Secondary Antibody Diluent Solution and mix well by inverting. The Secondary Antibody solution is then ready to use. The diluted Secondary Antibody is stable for 2 weeks at -20°C.

ELISA  Protocol

Amount of reagent required for one reaction is shown in the table below

| Component | Volume per well |
| --- | --- |
| Sample/PositiveControl/Negative Control | 100µL  |
| 1X HRP-Conjugated Antibody | 100µL  |
| 1X Wash Solution | 3 mL |
| TMB Substrate | 100µL  |
| Stop Solution | 100 µL |

Note: All samples and controls should be run in duplicate

- Bring the EHDV antigen-coated plate and all reagent components to room temperature (20°– 25°C/ 68°– 77°F) for at least an hour.

- Aliquot EHDV Positive Control (100µL/well) to two wells of the antigen coated plate.

- Aliquot EHDV Negative Control (100 µL/well) to two wells of the antigen coated plate.

Aliquot the Positive and Negative Controls separate from each other, for e.g., the upper  left-hand and bottom right-hand corner wells of the plate.

- Add 100µL of previously diluted (1:10) serum/plasma sample (or neat cell culture supernatant) per well in duplicate.

- Cover plate with foil and incubate for 60 minutes at 37°C. Avoid direct sunlight and air vents during incubation.

- Discard the solution in the wells.

- Wash the plate by adding 300µL of 1X Wash solution to each well of the plate. Discard the wash solution and tap dry on paper towels. Repeat four additional times for a total of five washes. Perform the next step immediately. Do not allow the plate to dry.

- Add 100µL of 1X HRP-Conjugated Secondary Antibody to each well of the plate. Cover plate with foil and incubate for 60 minutes at 37°C.

- Wash plate with 1X Wash solution as described in Step 7.

- Add 100µL of TMB Substrate to each well of the plate. Cover plate with foil and incubate for 5 minutes at room temperature (20 – 25°C / 68 – 77°F).

- Add 100µL of Stop Solution to each well. Read the plate as soon as possible on a plate reader at 450nm wavelength.

RESULTS:

Interpretation of Controls

Positive Control:

Absorbance readings at 450 nm for positive control wells should be greater than O.D of 1.0.

Negative Control:

Absorbance readings at 450 nm for negative control wells should be less than O.D of 0.4.

Controls must be within the limits above for proper interpretation of samples.

Interpretation of Samples

O.D ≥ 1:

Sample is interpreted as positive for antibodies to EHDV if the absorbance reading at 450 nm is close to greater than O.D of 1.0.

O.D ≤ 0.4:

Sample is interpreted as negative for antibodies to EHDV if the absorbance reading at 450 nm is close to or less than 0.4.

O.D values between 0.4 and 1.0 can be interpreted as weak positive for antibodies to EHDV.

REAGEN LLC

Add.: 102CommerceDr.Unit8,Moorestown,NJ08057

Tel.:856-727-0250         FAX.:856-727-0251

E-mail:reagenkits@gmail.com    reagenllc@gmail.com

Web.:www.reagen.us