REAGEN™

Chlormadinone ELISA Test Kit

RNH 94014

### Product Description

REAGEN™ Chlormadinone ELISA Test Kit is a competitive enzyme immunoassay for the quantitative analysis of Chlormadinone in feed, fish, meat, milk, milk powder, serum/plasma, shrimp, tissue and urine.

The unique features of the kit are:

- High recovery (80%-105%),rapid, cost-effective extraction methods.

- High sensitivity(0.15 ng/g or ppb) and low detection limit (meat/fish/shrimp 0.075 ppb and urine 0.25ppb).

- A quick ELISA assay (less than 2 hours regardless of number of samples).

- High reproducibility.

### Procedure Overview

The method is based on a competitive colorimetric ELISA assay. The drug of interest has been coated in the plate wells. During the analysis, sample is added along with the primary antibody specific for the target drug. If the target is present in the sample, it will compete for the antibody, thereby preventing the antibody from binding to the drug attached to the well. The secondary antibody, tagged with a peroxidase enzyme, targets the primary antibody that is complexed to the drug coated on the plate wells. The resulting color intensity, after addition of substrate, has an inverse relationship with the target concentration in the sample.

### Kit Contents, Storage and Shelf Life

REAGEN™ Chlormadinone ELISA Test Kit has the capacity for 96 determinations or testing of 42 samples in duplicate (assuming 12 wells for standards). Return any unused microwells to the foil bag and reseal them with the desiccant provided in the original package. Store the kit at 2-8C *. The shelf life is 12 months when the kit is properly stored.

| Kit Contents | Amount | Storage |
| --- | --- | --- |
| Chlormadinone Coated Plate | 96-well Plate (8wells x 12strips) | 2-8C |
| Chlormadinone Standards: Negative control (white cap tube) 0.15ng/mL (yellow cap tube) 0.5ng/mL (orange cap tube) 1.5 ng/mL (pink cap tube) 4.5ng/mL (purple cap tube) 9.0 ng/mL (blue cap tube) 20 ng/mL (spiking, red cap tube) | 0.8 mL 0.8 mL 0.8 mL 0.8 mL 0.8 mL 0.8 mL 0.8 mL | 2-8C |
| Chlormadinone Antibody #1 | 12mL | 2-8C * |
| 100X HRP-Conjugated Antibody #2 | 250 L | 2-8C |
| Antibody #2 Diluent | 20 mL |  |
| 20X Wash Solution ** | 28 mL |  |
| Stop Buffer ** | 14mL |  |
| TMB Substrate ** | 12 mL |  |
| 10X PBS | 25mL |  |
| Concentrate of Tissue Extraction Buffer | 60 g |  |
| Tissue Clean Up Mix | 12 g |  |
| DES Milk Clean Up Reagent (Optional) | 60 g |  |

* If you are not planning to use the kit for over 3 months, store Chlormadinone Standards,  Antibody #1 and 100X HRP-Conjugated Antibody #2 at -20C or in a freezer.

### Sensitivity

| Sample Type | Detection Limit (ng/g or ppb) |
| --- | --- |
| Meat/fish/Shrimp | 0.075 |
| Urine | 0.25 |
| Feed | 0.15 |
| Milk | 0.2 |
| Milk power | 2 |
| Serum/Plasma | 0.75 |

### Specificity

| Analytes | Cross-Reactivity (%) |
| --- | --- |
| Chlormadinone | 100 |
| DES-glucuronide | <1.2 |
| Hexestrol | <0.5 |
| Dienestrol | <0.5 |
| DES-dipropionate | <0.5 |
| Estradiol | <0.5 |
| Testerone | <0.5 |
| Salmeterol | <0.5 |
| Ractopamine | <0.01 |

### Required Materials Not Provided With the Kit

- Microtiter plate reader (450 nm)

- Constant temperature incubator

- Tissue Mixer (e.g. Omni TissueMaster Homogenizer)

- Rotary evaporator or nitrogen gas

- Vortex mixer (e.g. Gneie Vortex mixer from VWR)

- 10, 20, 100 and 1000 L pipettes

- Multi-channel pipette: 50-300 L (Optional)

- Hexane

- Ethyl acetate

- Anhydrous CaCl2

### Warnings and Precautions

- The standards contain Chlormadinone . Handle with particular care.

- Do not use the kit past the expiration date.

- Do not intermix reagents from different kits or lots except for components with the same part No’s within their expiration dates.

- Try to maintain a laboratory temperature of 20°–25°C (68°–77°F). Avoid running assays under or near air vents, as this may cause excessive cooling, heating and/or evaporation. Also, do not run assays in direct sunlight, as this may cause excessive heat and evaporation. Cold bench tops should be avoided by placing several layers of paper towel or some other insulation material under the assay plates during incubation.

- Make sure you are using distilled or deionized water since quality is very important.

- When pipetting samples or reagents into an empty microtiter plate, place the pipette tips in the lower corner of the well, making contact with the plastic.

- Incubations of assay plates should be timed as precisely as possible. Be consistent when adding standards to the  plate. Add your standards first and then your samples.

- Add standards to plate only in the order from low concentration to high concentration as this will minimize the risk of compromising the standard curve.

- Always refrigerate plates in sealed bags with a desiccant to maintain stability. Prevent condensation from forming on plates by allowing them equilibrate to room temperature (20 – 25C / 68 – 77F) while in the packaging.

SAMPLE PREPARATION

Be sure samples are properly stored. In general, samples should be refrigerated at 2-4°C for no more than 1-2 days. Freeze samples to a minimum of -20°C if they need to be stored for a longer period. Frozen samples can be thawed at room temps (20 – 25C / 68 – 77F) or in a refrigerator before use.

1. 	Preparation of 1X PBS

Mix 1 volumeof the 10X PBS with 9 volumes of distilled water.

2. 	Preparation of 1X PBS-Methanol Solution (3:2, v/v)

Mix 3 volumes of the 1X PBS with 2 volumes of methanol.

3. 	Preparation of 1X Tissue Extraction Buffer

Take all of the powder from the Concentrate of Tissue Extraction Buffer bag to a 200 mL

bottle, add 180 mL of distilled water, vortex 2 minutes manually, leave the solution at room

temperature for 20 minutes. It is fine if small amount of salt residue is observed at the

bottom of the bottle.

Feed

- Weigh 1 g homogenized feed sample and add 6 mL of acetonitrile and 2 mL of 1X Tissue Extraction Buffer.

- Vortex for 3 minutes at maximum speed or shake for 20 minutes at a multi-tube vortexer or shaker.

- Centrifuge for 10 minutes at 4,000 x g at room temperature (20-25C/68 -77F), transfer 3 mL of the supernatant to a new tube.

- Add 150 mg Tissue Clean Up Mix and vortex for 30 seconds, leave at room temp for 5 minutes.

- Centrifuge for 10 minutes at 4,000 x gat room temperature(20-25C/68-77F),

- Transfer 2.4 mL of supernatant to a new tube. Use a rotary evaporator to dry the sample by blowing nitrogen gas in a 50-60C water bath.

- Add 400 uL of 1X PBS/Methanol (3:2; V/V), vortex vigorously for 30 seconds at maximum speed.

- Use 50uL of the sample for the assay.

Note: Dilution factor: 1

Meat (Tissue with high fat)

- Weigh 2 g homogenized meat sample, add 6 mL of acetonitrile and 2 mL of 1X Tissue Extraction Buffer.

- Vortex for 3 minutes at maximum speed or shake for 20 minutes at a multi-tube vortexer or shaker.

- Centrifuge for 10 minutes at 4,000 x g at room temperature (20-25C/68-77F), transfer 3 mL of the supernatant to a new tube.

- Add 300 mg Tissue Clean Up Mix and vortex for 30 seconds, leave at room temp for 5 minutes.

- Centrifuge for 10 minutes at 4,000 x gat room temperature (20-25C/68-77F),

- Transfer 2.4 mL of supernatant to a new tube. Use a rotary evaporator to dry the sample in a 50-60C water bath under reduced pressure. Alternatively, the sample can be dried by blowing nitrogen gas in a 50-60C water bath.

- Add 300 uL of 1X PBS/Methanol (3:2; V/V), vortex vigorously for 30 seconds at maximum speed.

- Use 50 uL ofthe sample for the assay.

Note: Dilution factor: 0.5.

Shrimp/Fish (Tissue with low fat)

- Weigh 2 g homogenized meat sample and add 6 mL of acetonitrile and 2 mL of 1X Tissue Extraction Buffer.

- Vortex for 3 minutes at maximum speed or shake for 20 minutes at a multi-tube vortexer or shaker.

- Centrifuge for 10 minutes at 4,000 x g at room temperature (20-25C/68-77F), transfer 3 mL of the supernatant to a new tube.

- Add 150 mg Tissue Clean Up Mix and vortex for 30 seconds, leave at room temp for 5 minutes.

- Centrifuge for 10 minutes at4,000 x gat room temperature (20-25C/68-77F),

- Transfer 2.4 mL of supernatant to a new tube. Use a rotary evaporator to dry the sample in a 50-60C/ water bath under reduced pressure. Alternatively, the sample can be dried by blowing nitrogen gas in a 50-60C water bath.

- Add 300 uL of 1X PBS/Methanol (3:2; V/V), vortex vigorously for 30 seconds at maximum speed.

- Use 50 uL ofthe sample for the assay.

Note: Dilution factor: 0.5.

Milk

- Take 2 mL of milk sample (for the milk with fat, centrifuge the milk sample at 4,000 x gfor 10 minutes, discard the upper fat layer and use the aqueous layer), mix with 6 mL of ethyl acetate and 1 g of DES Milk Clean Up Reagent, vortex for 3 minutes at maximum speed or mix vigorously for 10 minutes in a multi-tube vortexer or shaker.

- Centrifuge for 10 minutes at 4,000 x g at room temperature(20-25C/68-77F). Transfer 3 mL of the ethyl acetate supernatant into a new vial and use a rotary evaporator to dry the sample in a 60C water bath under reduced pressure. Alternatively, the sample can be dried by blowing nitrogen gas in a 60C water bath.

- Add 2 mL of n-hexane and1 mL of 1X PBS-Methanol Solution (3:2, v/v) to the dried residue and mix rigorously by vortexing at maximum speed for 2 minutes.

- Centrifuge for 10 minutes at 4,000 x g at room temperature. Discard the upper hexane layer.

- Use 50 uL of the lower aqueous layer per well for the assay.

Note: Dilution factor: 1.33

Milk Powder

- Weigh out 1 g of milk powder in a centrifugal glass vial, add 10 mL of distilled water and dissolve by shaking.

- Centrifuge at 4,000 x g for 10 minutes, discard the upper lipid layer.

- Take 2 mL of sample to a new tube, add 6 mL of ethyl acetate and 1 g of DES Milk Clean Up Reagent, vortex for 3 minutes at maximum speed or mix vigorously for 10 minutes in a multi-tube vortexer or shaker.

- Centrifuge for 10 minutes at 4,000 x gat room temperature  (20-25C/68-77F)

- Transfer 3 mL of the ethyl acetate supernatant into a new vial and use a rotary evaporatorto dry the sample in a 60C water bath under reduced pressure. Alternatively, the sample can be dried by blowing nitrogen gas in a 60C water bath.

- Add 2 mL of n-hexane and1 mL of 1X PBS-Methanol Solution (3:2, v/v) to the dried residue and mix rigorously by vortexing at maximum speed for 2 minutes.

- Centrifuge for 10 minutes at 4,000 x g at room temperature. Discard the upper hexane layer.

- Use 50 uL of the lower aqueous layer per well for the assay.

Note: Dilution factor: 13.3

Serum/Plasma

- Centrifuge the serum/plasma sample at 4,000 x g for 5 minutes, dilute 1 volume of the supernatant with 4 volumes of 1X PBS-Methanol Solution (3:2, v/v) (e.g. 20 uL of serum/plasma + 80u L of 1X PBS-Methanol Solution).

- Take 50 uL of the diluted sample per well for the assay.

Note: Dilution factor: 5.

### Urine

### Centrifuge 0.5 mL of the urine sample at 4,000 x g for 5 minutes.

### Take out 0.3 mL of the supernatant, add 0.2 mL of methanol. Mix well.

### Use 50 uL of the supernatant per well for the assay.

Note: Dilution factor: 1.67. If the Chlormadinone concentration is high, dilute 5-10 fold of the urine sample with 1X PBS-methanol solution (3:2, v/v) and perform the ELISA assay.

Chlormadinone ELISA TEST KIT PROTOCOL

### Reagent Preparation

IMPORTANT: All reagents should be brought up to room temperature before use (1 – 2 hours at 20 – 25C / 68 – 77F); Make sure you read “Warnings and Precautions” section on page 3. Solutions should be prepared just prior to ELISA test. All reagents should be mixed by gently inverting or swirling prior to use. Prepare only the volumes that are needed for the number of wells being run.  Do not return the reagents to the original stock tubes/bottles. It is recommended that disposable reservoirs be used when handling reagents to minimize the risk of contamination.

- Preparation of 1X HRP Conjugate Antibody #2

Mix 1 volume of 100XHRP Conjugate Antibody #2 with 99 volumes of Antibody #2 Diluent.

- Preparation of 1X Wash Solution

Mix 1 volume of 20X Wash Buffer concentrate with 19 volumes of distilled water.

### ELISA Testing Protocol

Label the individual strips that will be used and aliquot reagents as the following example:

| Component | Volume per Reaction | 24 Reactions |
| --- | --- | --- |
| Chlormadinone Antibody#1 | 100L | 2.4mL |
| 1X HRP Conjugate #2 | 150 L | 3.6 mL |
| 1X Wash Solution | 2.0 mL | 48mL |
| Stop Buffer | 100 L | 2.4 mL |
| TMB Substrate | 100 L | 2.4 mL |

- Add 50 L of each Chlormadinone Standards or samples in duplicate into different wells (Add standards to plate only in the order from low concentration to high concentration)

- Add 100 L of Chlormadinone Antibody #1 and mix well by gently rocking the plate manually for 1 minute.

- Incubate the plate for 30 minutes at room temperature (20 – 25C / 68 – 77F).

- Wash the plate 3 times with 250 L of 1X Wash Solution. After the last wash, invert the plate and gently tap the plate dry on paper towels ( Perform the next step immediately after plate washings. Do not allow the plate to air dry between working steps).

- Add 150 L of 1X Antibody #2 solution. Incubate the plate for 30 minutes at room temperature (20 – 25C / 68 – 77F) (Avoid direct sunlight and cold bench tops during the incubation. Covering the microtiter plate while incubating is recommended).

- Wash the plate 3 times with 250 L of 1X Wash Solution. After the last wash, invert the plate and gently tap the plate dry on paper towels ( Perform the next step immediately after plate washings. Do not allow the plate to air dry between working steps).

- Add 100 L of TMB substrate. Time the reaction immediately after adding the substrate. Mix the solution by gently rocking the plate manually for 1 minute while incubating ( Do not put any substrate back to the original container to avoid any potential contamination. Any substrate solution exhibiting coloration is indicative of deterioration and should be discarded. Covering the microtiter plate while incubating is recommended).

- After incubating for 15 minutes at room temperature (20 – 25C / 68 – 77F), add 100 L of Stop Buffer to stop the enzyme reaction.

- Read the plate as soon as possible following the addition of Stop Buffer on a plate reader with 450 nm wavelength ( Before reading, use a lint-free wipe on the bottom of the plate to ensure no moisture or fingerprints interfere with the readings).

### Chlormadinone Concentration Calculations

A standard curve can be constructed by plotting the mean relative absorbance (%) obtained from each reference standard against its concentration in ng/mL on a logarithmic curve.

Relative absorbance (%) =

The following figure is a typical Chlormadinone standard curve

REAGEN LLC

Add.: 102CommerceDr.Unit8,Moorestown,NJ08057

Tel.:856-727-0250         FAX.:856-727-0251

E-mail:reagenkits@gmail.com  reagenllc@gmail.com

Web.:  www.reagen.us