REAGEN™

Diazepam ELISA Test Kit

RNH94016

Product Description

REAGEN™ Diazepam ELISA Test Kit is a competitive enzyme immunoassay for the quantitative analysis of diazepam as well as other benzodiazepines in feed, meat (beef, chicken and pork), milk, serum and urine. The unique features of the kit are:

- High recovery (>80%),rapid(10-30 minutes),and cost-effective extraction methods.

- High sensitivity(0.005ng/g or ppb).

- High reproducibility.

- A quick ELISA assay(less than 2 hours regardless of number of samples).

Procedure Overview

The method is based on a competitive colorimetric ELISA assay. The drug of interest has been coated in the plate wells. During the analysis, sample is added along with the primary antibody specific for the target drug. If the target is present in the sample, it will compete for the antibody, thereby preventing the antibody from binding to the drug attached to the well. The secondary antibody, tagged with a peroxidase enzyme, targets the primary antibody that is complexed to the drug coated on the plate wells. The resulting color intensity, after addition of substrate, has an inverse relationship with the target concentration in the sample.

Kit Contents, Storage and Shelf Life

REAGEN™ Diazepam ELISA Test Kit has the capacity for 96 determinations or testing of 42 samples in duplicate (assuming 12 wells for standards). Return any unused microwells to the foil bag and reseal them with the desiccant provided in the original package. Store the kit at 2-8°C *. The shelf life is 12 months when the kit is properly stored.

| Kit Contents | Amount | Storage |
| --- | --- | --- |
| Diazepam Coated Plate | 1 x 96-well Plate | 2-8°C |
| Diazepam Standards: Negative control (white cap tube) 0.025ng/mL (yellow cap tube) 0.05 ng/mL (orange cap tube) 0.1 ng/mL (pink cap tube) 0.5 ng/mL (purple cap tube) 1.0 ng/mL (blue cap tube) 100 ng/mL (spiking, optional, red cap tube) | 1.0 mL 1.0 mL 1.0 mL 1.0 mL 1.0 mL 1.0 mL 1.0 mL | 2-8°C * |
| Anti-Diazepam Antibody #1 | 12 mL | 2-8°C * |
| 100X HRP-Conjugated Antibody #2 | 250 L |  |
| Antibody #2 Diluent ** | 20 mL |  |
| 20X Wash Solution ** | 30 mL |  |
| TMB Substrate ** | 12 mL |  |
| Stop Buffer ** | 14 mL |  |
| 10X Sample Extraction Buffer ** | 25 mL |  |

If you are not planning to use the kit for over 1 months, store Anti-Diazepam Antibody #1      and 100X HRP-Conjugated Antibody #2 at -20C or in a freezer.

Sensitivity (Detection Limit)

| Sample Type | Detection Limit (g/g or ppb) |
| --- | --- |
| Feed | 0.25 |
| Meat/Liver/Kidney | 0.25 |
| Milk | 0.5 |
| Serum | 0.5 |
| Urine | 0.25 |

Specificity (Cross-Reactivity)

| Analytes | Cross-Reactivity (%) |
| --- | --- |
| Diazepam | 100 |
| Flunitrazepam | 100 |
| Lormetazepam | 100 |
| Triazolam | 25 |
| Alprazolam | 15 |
| Oxazepam | 1 |
| Chlordiazepoxide | <1 |
| Flurazepam | <1 |
| Bromazepam | <1 |
| Lorazepam | <1 |
| Clobazam | <1 |

Required Materials Not Provided With the Kit

- Microtiter plate reader (450 nm)

- Incubator

- Tissue Mixer (e.g. Omni TissueMaster Homogenizer)

- Vortex mixer (e.g. Gneie Vortex mixer from VWR)

- 10, 20, 100 and 1000 L pipettes

- Multi-channel pipette: 50-300 L (Optional)

Warnings and Precautions

- The standards contain Diazepam. Handle with particular care.

- Do not use the kit past the expiration date.

- Do not intermix reagents from different kits or lots except for components with the same part No’s within  their  expiration  dates. ANTIBODIES  AND PLATES  ARE  KIT-AND LOT-SPECIFIC.  Make sure that the HRP Conjugate and Diluent are mixed in correct volumes.

- Try to maintain a laboratory temperature of 20°–25°C (68°–77°F). Avoid running assays under or near air vents, as this may cause excessive cooling, heating and/or evaporation. Also, do not run assays  in  direct sunlight,  as this may cause excessive  heat and evaporation. Cold  bench tops should be avoided by placing several layers of paper towel or some other insulate material under the assay plates during incubation.

- Make sure you are using only distilled or deionized water since water quality is very important.

- When pipetting samples or reagents  into an empty microtiter plate, place the pipette tips in the lower corner of the well, making contact with the plastic.

- Incubations of assay plates should be timed as precisely as possible. Be consistent when adding standards to the assay plate. Add your standards  first and then your samples.

- Add standards  to plate only in the order from low concentration to high concentration, as this will minimize the risk of compromising the standard curve.

- Always  refrigerate  plates  in  sealed  bags  with  a  desiccant  to  maintain  stability.  Prevent condensation from forming on plates by allowing them equilibrate to room temperature  (20 – 25°C /68 – 77°F) while in the packaging.

SAMPLE PREPARATION

Be sure samples are properly stored. In general, samples should be refrigerated at 2-4°C for no more than 1-2 days. Freeze samples to a minimum of -20°C  if  they need to be stored for a longer period. Frozen samples can be thawed at room temps (20 – 25°C / 68 – 77°F) or in a refrigerator before use.

- Preparation of 1X Sample Extraction Buffer:

Mix 1 volume of 10X Sample Extraction Buffer with 9 volumes of distilled        water.

- Preparation of 35% Ethanol/Sample Extraction Buffer (For test on Milk, Serum and Urine samples only):

Mix 6.5 volumes of 1X Sample Extraction Buffer with 3.5 volumes of 100% ethanol.

### Feed

- To a reasonable amount of the sample, add 5 times amount of 70% ethanol (e.g. 1 g of sample + 5 mL of 70% ethanol); homogenize the sample with a suitable mixer.

- Take out 1.5 mL of the homogenized sample and centrifuge for 5 minutes at 4,000 x g at room temperature (20 – 25C / 68 – 77F).

- Transfer 0.5 mL of the supernatant to a tube, add 0.5 mL of 1X Sample Extraction Buffer, and mix well.

- Use 50 L per well for the assay.

Note: Dilution factor: 10.

### Meat/Liver/Kidney

- Remove fat from the sample. Homogenize the sample with a suitable mixer.

- Weigh out 1.0 g of the homogenized sample and add 4 mL of 70% ethanol.

- Vortex for 10 minutes at maximum speed.

- Centrifuge for 5 minutes at 4,000 x g at room temperature (20 – 25C / 68 – 77F).

- Transfer 0.5 mL of the supernatant to a tube, add 0.5 mL of 1X Sample Extraction Buffer, and mix well

- Use 50 L per well for the assay.

Note: Dilution factor: 10.

### Milk

- For fat-free milk, dilute the milk sample 20 fold with 35% Ethanol/Sample Extraction Buffer (e.g. 50 L of sample + 950 L of buffer). Take 50 L of the diluted sample per well for the assay.

- For regular milk with fat, centrifuge the milk sample at 4,000 x g for 5 minutes, discard the upper fat layer. Dilute the sample 20 fold with 35% Ethanol/Sample Extraction Buffer (e. g. 50 L of sample + 950 L of buffer). Take 50 L of the diluted sample per well for the assay.

Note: Dilution factor: 20.

### Serum

- Centrifuge 0.1 mL of the serum sample at 4,000 x g for 5 minutes.

- Take out 50 L of the supernatant, add 0.95 mL of 35% Ethanol/Sample Extraction Buffer, and mix well.

- Use 50 L per well for the assay

Note: Dilution factor: 20.

### Urine

- Centrifuge 0.5 mL of the urine sample at 4,000 x g for 5 minutes.

- Take out 0.2 mL of the supernatant, add 0.45 mL of 35% Ethanol/Sample Extraction Buffer, and mix well.

- Use 50 L per well for the assay.

Note: Dilution factor: 10.

DIAZEPAM ELISA TEST KIT PROTOCOL

Reagent Preparation

IMPORTANT: All reagents should be brought up to room temperature before use (1 – 2 hours at 20 – 25C / 68 – 77F); Make sure you read “Warnings and Precautions” section on page 3. Solutions should be prepared just prior to ELISA test.  All reagents should be mixed by gently inverting or swirling prior to use. Prepare volumes that are needed for the number of wells being run. Do not return the reagents to the original stock tubes/bottles. Using disposable reservoirs when handling reagents can minimize the risk of contamination and is recommended.

- Preparation of 1X HRP-Conjugated Antibody #2

Mix 1 volume of 100X HRP-Conjugated Antibody #2 with 99 volumes of Antibody #2 Diluent.

- Preparation of 1X Wash Solution

Mix 1 volume of 20X Wash Buffer concentrate with 19 volumes of distilled water.

ELISA Testing Protocol

Label the individual strips that will be used and aliquot reagents as the following example:

| Component | Volume per Reaction | 24 Reactions |
| --- | --- | --- |
| Diazepam Antibody #1 | 100 L | 2.4 mL |
| 1X HRP-Conjugated Antibody #2 | 150 L | 3.6 mL |
| 1X Wash Solution | 2.0 mL | 48 mL |
| Stop Buffer | 100 L | 2.4 mL |
| TMB Substrate | 100 L | 2.4 mL |

- Add 50 L of each Diazepam Standards in duplicate into different wells ( Add standards to plate only in the order from low concentration to high concentration).

- Add 50 L of each sample in duplicate into different sample wells.

- Add 100 L of Antibody #1 and mix well by gently rocking the plate manually for 1 minute.

- Incubate the plate for 30 min at at room temperature (20 – 25C / 68 – 77F).

- Wash the plate 3 times with 250 L of 1X Wash Solution. After the last wash, invert the plate and gently tap the plate dry on paper towels

- Add 150 L of 1X Antibody #2. Incubate the plate for 30 minutes at at room temperature (20 – 25C / 68 – 77F)

- Wash the plate 3 times with 250 L of 1X Wash Solution. After the last wash, invert the plate and gently tap the plate dry on paper towels

- Add 100 L of TMB substrate. Time the reaction immediately after adding the substrate. Mix the solution by gently rocking the plate manually for 1 minute while incubating.

- After incubating for 15 minutes at room temperature (20 – 25C / 68 – 77F), add 100 L of Stop Buffer to stop the enzyme reaction.

- Read the plate as soon as possible following the addition of Stop Buffer on a plate reader with 450 nm wavelength (Before reading, use a lint-free wipe on the bottom of the plate to ensure no moisture or fingerprints interfere with the readings).

Diazepam Concentration Calculations

A standard  curve can be constructed by plotting the mean relative absorbance  (%) obtained from each reference standard against its concentration in ng/mL on a logarithmic curve.

Relative absorbance (%) =

Use the mean relative absorbance values for each sample to determine the corresponding concentration of  the tested  drug in ng/mL from the  standard  curve.

The sample detection and quantification limit are calculated as below.

Sample detection limit = (0.025 ng/g) x (dilution factor)

Sample quantification limit = (0.05 ng/g) x (dilution factor)

For example, the dilution factor for meat sample is 10, therefore, the detection limit for meat  sample is 0.1 ng/g or ppb (0.025 ng/g x dilution factor 10) and the quantification limit is 0.5 ng/g or ppb (0.05 ng/g x dilution factor 10).

The following figure is a typical Diazepam  standard curve

REAGEN LLC

Add.: 102CommerceDr.Unit8,Moorestown,NJ08057

Tel.:856-727-0250        FAX.:856-727-0251

E-mail:reagenkits@gmail.com   reagenllc@gmail.com

Web.:www.reagen.us