REAGEN™

Trifluralin ELISA Test Kit

RNP96017

### Product Description

REAGEN™ Trifluralin ELISA Test Kit is a competitive enzyme immunoassay for the quantitative analysis of trifluralinl in fish, shrimp, meat and water.

The unique features of the kit are:

High recovery (75-115%), rapid (10 - 40 minutes), and cost-effective extraction methods .

High sensitivity (0.25 ng/g or ppb).

Quick ELISA assay (less than 2 hours regardless of the number of samples).

High reproducibility.

### Procedure Overview

The method is based on a competitive colorimetric ELISA assay. The trifluralin conjugate has been coated in the plate wells. During the analysis, a sample is added along with the primary antibody specific for trifluralin. If  the target is present in the sample, it will compete for the antibody, thereby preventing the antibody from binding to the trifluralin attached to the wells. The secondary antibody, tagged with a peroxidase enzyme, targets the primary antibody associated with the trifluralin coated on the plate wells. The resulting color intensity, after addition of substrate, has an inverse relationship with the target concentration in the sample.

### Kit Contents, Storage and Shelf Life

REAGEN™ Trifluralin ELISA Test Kit has the capacity for 96 determinations or testing of 42 samples in duplicate (assuming 12 wells for standards). Return any unused microwells to the foil bag and reseal them with the desiccant provided in the original package. Store the kit at 2-8C *. The shelf life is 12 months when the kit is properly stored.

| Kit Contents | Amount | Storage |
| --- | --- | --- |
| Trifluralin Coated Plate | 1x96-well Plate (8wells x12strips) | 2-8C |
| Trifluralin Standards: 1,500 ppb standard stock | 1.0 mL | -20C |
| 10X Trifluralin Sample Suspension Solution | 10 ml | 2-8C * |
| Trifluralin Antibody #1 | 12ml | 2-8C |
| Trifluralin Clean Up Mix | 12.5 g | 2-8C |
| 100X HRP-Conjugated Antibody #2 | 250 µL | 2-8C |
| Antibody #2 Diluent | 20 mL | 2-8C |
| 20X Wash Solution | 30 mL | 2-8C |
| Stop Buffer | 14 mL | 2-8C |
| TMB Substrate | 10 mL | 2-8C |

* If you are not planning to use the kit for over 1 months, store trifluralin Antibody #1 and 100X HRP-Conjugated Antibody #2 at -20C or in a freezer.

### Sensitivity

| Sample Type | Detection Limit (ng/g or ppb) |
| --- | --- |
| Fish/Meat | 0.4 |
| Shrimp | 0.3 |
| water | 0.4 |

### Specificity

| Analytes | Cross-Reactivity (%) |
| --- | --- |
| Trifluralin | 100 |
| Alachlor | <0.1 |
| Atrazine | <0.1 |
| Bromacil | <0.1 |
| Butachlor | <0.1 |
| Metolachlor | <0.1 |
| Prometon | <0.1 |
| Simazine | <0.1 |
| Alpha-Chlordane | <0.1 |
| Endrin | <0.1 |
| Gamma-Chlordane | <0.1 |
| Heptachlor | <0.1 |
| Heptachlor Epoxide Isomer B | <0.1 |
| Hexachlorobenzene | <0.1 |
| Hexachlorocyclopentadine | <0.1 |
| Methoxychlor | <0.1 |

### Required Materials Not Provided With the Kit

- Microtiter plate reader (450 nm)

- Incubator

- Tissue Mixer (e.g. Omni TissueMaster Homogenizer)

- Vortex mixer (e.g. Gneie Vortex mixer from VWR)

- 10, 20, 100 and 1000 L pipettes

- Multi-channel pipette: 50-300 L (Optional)

- Evaporator (Optional)

- MgSO4.

- MaxSignal® Trifluralin Clean Up Mix: Cat# 106603-125 (12.5 g); cat# 106603-200 (20 g)

### Warnings and Precautions

- The standards contain Trifluralin . Handle with particular care.

- Do not use the kit past the expiration date.

- Do not intermix reagents from different kits or lots except for components with the same part No’s within their expiration dates.

- Try to maintain a laboratory temperature of 20°–25°C (68°–77°F). Avoid running assays under or near air vents, as this may cause excessive cooling, heating and/or evaporation. Also, do not run assays in direct sunlight, as this may cause excessive heat and evaporation. Cold bench tops should be avoided by placing several layers of paper towel or some other insulation material under the assay plates during incubation.

- Make sure you are using only distilled or deionized water since water quality is very important.

- When pipetting samples or reagents into an empty microtiter plate, place the pipette tips in the lower corner of the well, making contact with the plastic.

- Incubations of assay plates should be timed as precisely as possible. Be consistent when adding standards to the assay plate. Add your standards first and then your samples.

- Add standards to plate only in the order from low concentration to high concentration as this will minimize the risk of compromising the standard curve.

- Always refrigerate plates in sealed bags with a desiccant to maintain stability. Prevent condensation from forming on plates by allowing them equilibrate to room temperature (20 – 25C / 68 – 77F) while in the packaging.

SAMPLE PREPARATION

Be sure samples are properly stored. In general, samples should be refrigerated at 2-4°C for no more than 1-2 days. Freeze samples to a minimum of -20°C if they need to be stored for a longer period. Frozen samples can be thawed at room temps (20 – 25C / 68 – 77F) or in a refrigerator before use.

- Preparation of 1X Trifluralin Sample Suspension Solution:

Mix 1 volume of 10X Trifluralin Sample Suspension Solution with 9 volumes of distilled water.

- Preparation of 2.5X Trifluralin Sample Suspension Solution:

Mix 1 volume of 10X Trifluralin Sample Suspension Solution with 3 volumes of distilled wate

### Fish and Meat

- Homogenize the sample with a suitable mixer.

- Take 2.0 g of the homogenized sample and place into 15-mL tube wrapped with aluminum foil.

- Add 6.0 mL of acetonitrile, and add 1.0 g of anhydrous MgSO4, vortex vigorously for 15 minutes in a multi-tube vortexer or shaker, or vortex for 3 minutes at maximum speed manually.

- Centrifuge the sample for 10 minutes at 4,000 X g at room temperature (20-25 C/68-77F).

- Take 1.0 mL of supernatant to a new 15-mL tube wrapped in aluminum foil containing 250 mg of Trifluralin Clean Up Mix.

- Vortex vigorously for 1 minute and leave at room temperature for 5 minutes. Centrifuge the sample for 10 minutes at 4,000 X g at room temperature (20-25 C/68-77F).

- Take 500 µL of supernatant to a 2-mL glass tube in brown color or wrapped with aluminum foil. Use an evaporator to dry the sample at 30°C under reduced pressure  in the  dark. Alternatively, the sample can be dried by blowing nitrogen gas in a 30°C water bath or at room temperature for a longer time. (Note: Avoid over drying the sample. If the sample is over dried and "hard crack" appears in the tube, the sample can not be resuspended well  and the recovery rate could be reduced).

- Add 200 µL of 1X Trifluralin Sample Suspension Solution to the dried tube and vortex vigorously for 2 minutes

- Use 50 µL of the extraction solution per well in the ELISA test.

Note: Dilution factor: 1.6 (fit for 1-5 ppb  spiking). To detect the higher concentration trifluralin in the sample, the dilution factor can be increased by adding more 1X Trifluralin Sample Suspension Solution in Step 8. For example, if add 400  µL 1X Trifluralin Sample Suspension Solution , the dilution factor is 3.2  (fit for 2-8 ppb spiking), if add 500 µL, the dilution factor is 4 (fit for 3-10  ppb),  if add 1.25 mL, the dilution factor is 10 (fit for 10-30ppb spiking).

### Shrimp

- Homogenize the sample with a suitable mixer.

- Take 2.0 g of the homogenized sample and place into 15-mL glass tube in brown color or wrapped with aluminum foil.

- Add 6.0 mL of acetonitrile, and add 1.0 g of anhydrous MgSO4, vortex vigorously for 15 minutes in a multi-tube vortexer or shaker, or vortex for 3 minutes at maximum speed manually.

- Centrifuge the sample for 10 minutes at 4,000 X g at room temperature (20-25 C/68-77F).

- Take 1.0 mL of supernatant to a new 15-mL glass tube in brown color or wrapped in aluminum foil containing 125 mg of Trifluralin Clean Up Mix.

- Vortex vigorously for 1 minute and leave at room temperature for 5 minutes. Centrifuge the sample for 10 minutes at 4,000 X g at room temperature (20-25 C/68-77F).

- Take 500 µL of supernatant to a 2-mL glass tube in brown color or wrapped with aluminum foil. Use an evaporator to dry the sample at 30°C under reduced pressure in the dark. Alternatively, the sample can be dried by blowing nitrogen gas in a 30°C water bath or at room temperature for a longer time. (Note: Avoid over drying the sample. If the sample is over dried and "hard crack" appears in the tube, the sample can not be resuspended well  and the recovery rate could be reduced).

- Add 150 µL of 1X Trifluralin Sample Suspension Solution to the dried tube and vortex vigorously for 2 minutes.

- Use 50 µL of the extraction solution per well in the ELISA test.

Note: Dilution factor: 1.2 (fit for 1-5 ppb  spiking). To detect the higher concentration trifluralin in the sample, the dilution factor can be increased by adding more 1X Trifluralin Sample Suspension Solution in Step 8. For example, if add 400  µL 1X Trifluralin Sample Suspension Solution , the dilution factor is 3.2  (fit for 2-8 ppb spiking), if add 500 µL, the dilution factor is 4 (fit for 3-10  ppb),  if add 1.25 mL, the dilution factor is 10 (fit for 10-30ppb spiking).

### Water

- Take 1.5 mL of water sample in a centrifuge tube wrapped in aluminum foil and adjust the pH to 6.5-7.5 with 0.1 M HCl or 0.1 M NaOH.

- Centrifuge the water sample for 5 minutes at 4,000 X g at room temperature (20-25 oC/68-77oF).

- Take out 0.5 mL of the supernatant to a new tube wrapped in aluminum foil, add 0.3 mL of 2.5X Trifluralin Sample Suspension Solution. Vortex 30 seconds.

- Use 50 μL of the solution per well in the ELISA test.

Note: Dilution factor: 1.6 (fit for 1-5 ppb spiking).

TRIFLURALIN ELISA TEST KIT PROTOCOL

### Reagent Preparation

IMPORTANT: All reagents should be brought up to room temperature before use (1 – 2 hours at 20 – 25C / 68 – 77F); Make sure you read “Warnings and Precautions” section on page 3. Solutions should be prepared just prior to ELISA test.  All reagents should be mixed by gently inverting or swirling prior to use. Prepare volumes that are needed for the number of wells being run. Do not return the reagents to the original stock tubes/bottles. Using disposable reservoirs when handling reagents can minimize the risk of contamination and is recommended.

- Preparation of 1X HRP-Conjugated Antibody #2

Mix 1 volume of 100X Antibody #2 with 99 volumes of Antibody #2 Diluent.

- Preparation of 1X Wash Solution

Mix 1 volume of 20X Wash Buffer concentrate with 19 volumes of distilled water.

- Preparation of Trifluralin Standard

Mix the following solutions by serial dilution starting from the highest concentration to the lowest in The prepared standards can be used for 3 months if stored at 4°C

Trifluralin Standards is 1,500 ppb in 100% DMF.

| Work Standards | Volume of Trifluralin Source | Volume of 1x Sample Suspension Solution |
| --- | --- | --- |
| 150ppb | 100 µL (supplied stock solution) | 900µL |
| 15ppb | 100 µL (of 150 ppb dilution) | 900µL |
| 7.5 ppb | 500 µL (of 15 ppb dilution) | 500 µL |
| 3 ppb | 500 µL (of 7.5 ppb dilution) | 750 µL |
| 1.5 ppb | 500 µL (of 3.0 ppb dilution) | 500 µL |
| 0.75 ppb | 500 µL (of 1.5 ppb dilution) | 500 µL |
| 0.25 ppb | 250 µL (of 0.75 ppb dilution) | 500 µL |
| 0 ppb | 0 µL | 500 µL |

Note: Work standards 0, 0.25, 0.75, 1.5, 3.0 and 7.5 ppb work standards will be used to generate standard curve, while 15 ppb and 150 ppb can be used as spiking standards if needed.

### ELISA Testing Protocol

Label the individual strips that will be used and aliquot reagents as the following example:

| Component | Volume per Reaction | 24 Reactions |
| --- | --- | --- |
| Trifluralin Antibody #1 | 100 µL | 2.4 mL |
| 1X HRP-Conjugated Antibody #2 | 150 µL | 3.6 mL |
| 1X Wash Solution | 2.0 mL | 48 mL |
| Stop Buffer | 100 µL | 2.4 mL |
| TMB Substrate | 100 µL | 2.4 mL |

- Add 50 µL of each Trifluralin Standard in duplicate into different wells ( Add standards to plate only in the order from low concentration to high concentration).

- Add 50 µL of each sample in duplicate into different sample wells.

- Add 100 µL of Antibody #1 and mix well by gently rocking the plate manually for 1 minute.

- Incubate the plate for 30 minutes at room temperature (20 – 25°C / 68 – 77°F).(Avoid direct sunlight and cold bench tops during the incubation. Covering the microtiter plate while incubating is recommended).

- Wash the plate 3 times with 250  µL of 1X Wash Solution. After the last wash, invert the plate and gently tap the plate dry on paper towels ( Perform the next step immediately after plate washings. Do not allow the plate to air dry between working steps).

- Add 150 µL of 1X Antibody #2 solution.Incubate the plate for 30 minutes at room temperature(20 – 25°C / 68 – 77°F).( Avoid  direct sunlight and cold bench tops during the incubation. Covering the microtiter plate while incubating is recommended).

- Wash the plate 3 times with 250 µL of 1X Wash Solution. After the last wash, invert the plate and gently tap the plate dry on paper towels ( Perform the next step immediately after plate washings. Do not allow the plate to air dry between working steps).

- Add 100 µL of TMB substrate. Time the reaction immediately after adding the substrate. Mix the solution by gently rocking the plate manually for 1 minute while incubating ( Do not put any substrate back to the original container to avoid any potential contamination. Any substrate solution exhibiting coloration is indicative of deterioration and should be discarded. Covering the microtiter plate while incubating is recommended).

- After incubating for 15 minutes at room temperature (20 – 25°C / 68 – 77°F), add 100 µL of Stop buffer to stop the enzyme reaction.

- Read the plate as soon as possible following the addition of Stop Buffer on a plate reader with 450 nm wavelength ( Before reading, use a lint-free wipe on the bottom of the plate to ensure no moisture or fingerprints interfere with the readings).

### Trifluralin Concentration Calculations

A standard curve can be constructed by plotting the mean relative absorbance (%) obtained from each reference standard against its concentration in ng/mL on a logarithmic curve.

Relative absorbance (%) =

Use the mean relative absorbance values for each sample to determine the corresponding concentration of the tested drug in ng/mL from the standard curve.

The following figure is a typical trifluralin standard curve.

REAGEN LLC

Add.: 102CommerceDr.Unit8,Moorestown,NJ08057

Tel.:856-727-0250         FAX.:856-727-0251

E-mail:reagenkits@gmail.com  reagenllc@gmail.com

Web.:www.reagen.us